GLUCOMETER QUALITY CONTROL LOG

PERFORM TEST WITH CONTROL SOLUTION EVERY WEDNESDAY. ENSURE CONTROL SOLUTION IS NOT OLDER THAN 3-6 MONTHS (___ DAYS) FROM OPENING. (Please reference manufacturer’s instructions for dates.)

| Date | Glucometer Serial # | Expected Control Range Values |  | Test Result | Test Strip Lot # | Reason for Test | Staff Performing Test |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Low | High |  |  |  |  |